## Master_Equipment
Equipment ID | Equipment Name | Lab Name | Make/Model | Serial No. | Installation Date | Warranty Expiry | AMC Vendor/Contact | Criticality (High/Med/Low)
EL-OSC-01 | Digital Oscilloscope | Electronics Lab | Tektronix TBS1102B | TX-1102-9876 | 2023-01-10 | 2026-01-09 | ABC Tech: 9876543210 | High
ME-CNC-01 | CNC Milling Trainer | Mechanical Workshop | XYZ CNC-TR | CNC-TR-2231 | 2022-08-05 | 2025-08-04 | MechServe: 9876500011 | High
CS-CPU-01 | GPU Workstation | AI & DS Lab | Dell Precision 7875 | D-7875-5567 | 2024-02-01 | 2027-01-31 | Dell ProSupport: 1800-XXX-XXX | Medium

## Usage_Log
Date | Equipment ID | Start Time | End Time | Hours (Auto) | User/Batch | Purpose/Course
2025-08-01 | EL-OSC-01 | 09:00 | 11:00 |  | ECE-A | Digital Electronics Lab
2025-08-02 | CS-CPU-01 | 14:00 | 17:30 |  | AIDS-B | Deep Learning Practicum
2025-08-02 | ME-CNC-01 | 10:00 | 12:30 |  | ME-A | CNC Machining Exercise

## Service_Log
Date | Equipment ID | Service Type (PM/BD/Calib) | Vendor/Technician | Issue/Observation | Action Taken | Downtime (Hours) | Next Due Date
2025-07-20 | EL-OSC-01 | Calib | ABC Tech | Annual calibration | Calibrated with cert | 2 | 2026-07-20
2025-06-10 | ME-CNC-01 | PM | MechServe | Preventive maintenance | Greasing, alignment | 4 | 2025-12-10
2025-07-15 | CS-CPU-01 | BD | Dell ProSupport | GPU fan failure | Fan replaced | 6

## PM_Schedule
Equipment ID | PM Frequency (Months) | Last Service Date | Next Due (Auto) | Status (Auto)
EL-OSC-01 | 12 | 2025-07-20
ME-CNC-01 | 6 | 2025-06-10
CS-CPU-01 | 12 | 2025-07-15
Formulas:
Next Due (Auto) = IF(AND([Last Service Date]<>"",[PM Frequency (Months)]<>""),EDATE([Last Service Date],[PM Frequency (Months)]),"")
Status (Auto) = IF([Next Due (Auto)]="","",IF([Next Due (Auto)]<TODAY(),"OVERDUE",IF([Next Due (Auto)]<=TODAY()+7,"DUE SOON","OK")))

## Summary
Metric | Value / Formula
Total Equipment
Equipment ID | Equipment Name | Utilization Hours (SUM) | Downtime Hours (SUM) | Next PM Due | PM Status